Automatic Differential Controller TVS 81-DC Steam Trap

Category: Steam Trap

Type: Automatic Differential Controller

Model: TVS 81-DC

Automatic differential condensate controller, type TVS in cast iron complete with integral piston valves on the inlet and outlet, with strainer.