Disc CD3300 Steam Trap

Category: Steam Trap

Type: Disc

Model: CD3300

Steam trap shall be stainless steel thermodynamic type, integral seat design with hardened disc and seating surfaces, and 360° universal connector.   When required, trap shall be supplied with an integral strainer connector, integral blowdown valve or rain guard insulating cap.  Maximum allowable pressure (vessel design) shall be 720  psig @ 750°F (50 bar @ 400°C).  Maximum operating pressure shall be 450 psig @ 750°F (31 bar @ 400°C).